1. Autoclave: fill plastic autoclave bin with ~2 cm of tap water. Add an inch or more of autoclave tap to cap, loosen cap, and autoclave with ‘Liquid 45’ cycle
   1. If doing other volumes, make sure never to fill container more than ¾ when autoclaving
2. Set a timer for when the autoclave says it will finish, plus 20 min because it’s usually off. Bring fuzzy autoclave gloves for touching hot plastic bin