Author: Alyssa Pereslete

Last Updated: 7/18/19

Estimated time: 30 minutes total

Adapted from Davies Lab Chlorophyll Extraction Protocol

Materials:

- Gloves

- Culture samples

- 90% Acetone (fridge)

- Deionized water

- Micro-pipette (1 mL max)

- Micro-pipette (20-200µg)

- Refrigerated Centrifuge

- Bead-mill

- Refrigerator

- Photo Spectrometer

- Fume Hood

- Dim lab lights as much as possible.

- After counts are completed, use scoopula and small weigh boat to place small amount of glass beads in each bead blast tube (see picture, should barely cover the bottom)

- Open the centrifuge and place the samples inside, ensuring to balance to centrifuge and full click on the cover.

- Centrifuge for 2 min at max RPM (14.8) and 4℃ to separate the media supernatant from the symbiont cell parts.

- After the centrifuge finishes running and while ensuring not to disrupt the contents of the samples, check to see if the supernatant is clear and lacking a green shade. This will indicate the pelleting was successful.

- Using the 1mL maximum micro-pipette, carefully remove supernatant without disturbing pellet. Remove any remaining supernatant with the 20-200µg micropipette.

- Add 1mL of 90% acetone to each tube once the supernatant has been drained.

- Run the samples in the bead mill at 6.00 m/s for 2 minutes.

- Cover each sample with foil (should be in the incubation box) and incubate in darkness for 24 hours in the fridge.

- Keep the samples on ice and in foil once removed from fridge after 24 hour incubation

- Centrifuge the samples again for 1 minute at max RPM (14.8), 4℃.

- Plate samples in triplicate (200µg) and read absorbance at 630nm and 663 nm, use 90% acetone as blank. See picture for plate layout. Clear lidded assay plates or black assay

plates with clear bottoms can be used, but plate type must be consistent within a project. Plates can be rinsed and reused between readings.

- Protocol on Gen5 is called “Chlorophyll Assay”. If plate layout is different from photo above, edit plate layout before running.

- Export data to excel (folder on desktop labeled Alyssa->Chlorophyll) and email.

- Dispose of sample tubes in fume hood- container labeled “Chlorophyll Assay”

- Rinse plate with DI water into waste container and dispose of in container labeled “Chlorophyll Assay”