Author: Alyssa Pereslete

Last Updated: 3/10/19

Estimated Time: 20-25 minutes

Materials:

- Gloves

- 12 1.5mL aliquots from each culture flask taken at the same time as aliquots for counts

- F/2 + GeO2 media (fridge, yellow label)

- 70% ethanol

- Micro-pipette (1mL max)

- Black plate (drying next to sink)

- Plate Reader

- Dim lab lights as much as possible.

- See steps 1-6 of counts protocol if samples were not taken at the same time as count aliquots.

- After counts are complete, get the black plate by the sink. It should be on a paper towel.

- Wipe down entire 1mL micro-pipette with ethanol before plating media.

- Plate 200µg of f/2 + GeO2 media as blanks in wells A1-6.

- Vortex each aliquot for ~2 seconds.

- Immediately plate 3 replicates of 200µg for each sample. Total of 36 samples.

  - Plate layout is set up for samples 1-7 to be in wells B1-3 through H1-3, and samples 8-12 are in B4-6 through F4-6. see picture:

- Place box cover over plate to incubate in darkness for 5-10 minutes.

- Set up plate reader: There is a protocol called “chlorophyll fluorescence” that has the correct settings.

  - Excitation: 450

  - Emission: 680

  - Plate layout is set up for samples 1-7 to be in wells B1-3 through H1-3, and samples 8-12 are in B4-6 through F4-6. see picture above.

- Run plate reader, export data to excel and email file.