# Isolating Symbionts from Live Host Tissue

Rachel Wright rwright@smith.edu

4 June 2019

# A. Initial Isolation

- Use a razor blade to remove a small (<=1cm2) piece of symbiotic host tissue and transfer it to a petri dish.

Avoid host tissue regions with obvious algal growth.

- Briefly chop the tissue with the razor.

- Add 1 mL sterile artificial seawater (AWS) to the petri dish and backpipet a few times to homogenize.

- Transfer the tissue/ASW “slurry” to a microcentrifuge tube.

- Add a small amount (½ spatula) of glass beads to the microcentrifuge tube.

- Vortex the microcentrifuge tube for 1 minute.

- Centrifuge the tube at max speed (16.5 xg) for 30 seconds.

The beads and any skeletal fragments that may have been included in the tissue homogenate should sediment to the bottom of the tube. The supernatant may appear brown.

- Add 4 mL of f/2 + GeO2 media to each well of a 6-well plate.

- Add 100 µL of supernatant to each well of the 6-well plate.

Avoid any debris, which may include suspended filamentous algae if it was growing on the tissue.

- Observe the wells using an inverted microscope.

You may only see a few clumps of Symbiodiniaceae cells (below), depending on how many symbionts were in the original slurry.

If your cultures are very dense at this stage and your goal is to culture an isogenic strain from a single cell, you may want to perform a few serial dilutions to reduce the density.

You may see a lot of diatoms (above). These are the devil.

- Transfer the 6-well plates to an incubator set to the temperature and light conditions appropriate for your strain.

Remember, symbionts in a dense culture or within the host tissue “self-shade.” The same light intensity that is appropriate for a dense culture or symbiotic host tissue may be too bright. Consider starting at a lower light intensity or shading the plates until the cultures grow to higher densities.

# B. Isolating single cells for isogenic cultures

- Add 1 mL f/2 + GeO2 media to each well of a 48-well plate.

- Using a pipet tip, isolate single cells from the wells of the 6-well plate and transfer them to a fresh well in the 48-well plate.

Strategies:

  - Find or create an area in the well that only has a single cell (or clump of cells, if unavoidable). Aspirate a small volume of liquid from that region and transfer to the new well.

  - Find or create an area in the well that only has a single cell (or clump of cells, if unavoidable). Scrape the cell with your pipet tip and swirl the pipet tip in the new well.

- Transfer the 48-well plate to an incubator set to the temperature and light conditions appropriate for your strain.

Remember, symbionts in a dense culture or within the host tissue “self-shade.” The same light intensity that is appropriate for a dense culture or symbiotic host tissue may be too bright. Consider starting at a lower light intensity or shading the plates until the cultures grow to higher densities.

Be patient with growth. It may take a couple of weeks to notice anything. Hopefully soon you will have wells full of clean symbiont cultures.